## Metadata
Property | Value
URL | https://ig-osiris.cancer.fr/ig/osiris/StructureDefinition/imaging-settings
Version | 1.1.0
Name | ImagingSettings
Title | Imaging Settings
Status | draft
Experimental
Date | 2025-04-03T15:16:31+02:00
Publisher | institutcancer
Contact | institutcancer (http://cancer.fr, osiris@institutcancer.fr)
Contact | Aurélien JOBARD (osiris@institutcancer.fr)
Jurisdiction
Description | Imaging Settings.
Purpose
Copyright
FHIR Version | 4.0.1
Kind | complex-type
Type | Extension
Base Definition | http://hl7.org/fhir/StructureDefinition/Extension
Abstract | false
Derivation | constraint
Context | element:Element

## Elements
ID | Path | Slice Name | Alias(s) | Label | Min | Max | Must Support? | Is Modifier? | Is Summary? | Type(s) | Short | Definition | Comments | Requirements | Default Value | Meaning When Missing | Fixed Value | Pattern | Example | Minimum Value | Maximum Value | Maximum Length | Binding Strength | Binding Description | Binding Value Set | Code | Slicing Discriminator | Slicing Description | Slicing Ordered | Slicing Rules | Base Path | Base Min | Base Max | Condition(s) | Constraint(s) | Mapping: RIM Mapping
Extension | Extension |  |  |  | 0 | * |  |  |  |  | Imaging Settings | Imaging Settings. | [18 empty] | Extension | 0 | * | ele-1 | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.id | Extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension | Extension.extension |  |  |  | 4 | * |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:slice_thickness | Extension.extension | slice_thickness |  |  | 1 | 1 | Y |  |  | Extension | Thickness of the slice in mm | Nominal thickness of the slice, in mm. Dicom Tag (0018,0050) | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:slice_thickness.id | Extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:slice_thickness.extension | Extension.extension.extension |  |  |  | 0 | 0 |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:slice_thickness.url | Extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | slice_thickness | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:slice_thickness.value[x] | Extension.extension.value[x] |  |  |  | 1 | 1 | Y |  |  | string | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:pixel_spacing | Extension.extension | pixel_spacing |  |  | 1 | 1 | Y |  |  | Extension | Pixel spacing | Physical distance between the centers of each two-dimensional pixel, specified by two numerical values. Dicom Tag (0028,0030) | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:pixel_spacing.id | Extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:pixel_spacing.extension | Extension.extension.extension |  |  |  | 0 | 0 |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:pixel_spacing.url | Extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | pixel_spacing | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:pixel_spacing.value[x] | Extension.extension.value[x] |  |  |  | 1 | 1 | Y |  |  | string | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:field_of_view | Extension.extension | field_of_view |  |  | 0 | 1 | Y |  |  | Extension | Field of view | The field of view (FOV) is defined as the dimensions of the exact anatomical region included in a scan in mm. | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:field_of_view.id | Extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:field_of_view.extension | Extension.extension.extension |  |  |  | 0 | 0 |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:field_of_view.url | Extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | field_of_view | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:field_of_view.value[x] | Extension.extension.value[x] |  |  |  | 0 | 1 | Y |  |  | integer | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:rows | Extension.extension | rows |  |  | 1 | 1 | Y |  |  | Extension | Number of pixels in the direction of the row | Number of pixels in the row direction of the reconstructed matrix. Dicom Tag (0028,0010) | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:rows.id | Extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:rows.extension | Extension.extension.extension |  |  |  | 0 | 0 |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:rows.url | Extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | rows | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:rows.value[x] | Extension.extension.value[x] |  |  |  | 1 | 1 | Y |  |  | integer | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:columns | Extension.extension | columns |  |  | 1 | 1 | Y |  |  | Extension | Number of pixels in the direction of the column | Number of pixels in the column direction of the reconstructed matrix. Dicom Tag (0028,0011) | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:columns.id | Extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:columns.extension | Extension.extension.extension |  |  |  | 0 | 0 |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:columns.url | Extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | columns | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:columns.value[x] | Extension.extension.value[x] |  |  |  | 1 | 1 | Y |  |  | integer | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:imaging_injection | Extension.extension | imaging_injection |  |  | 0 | 1 | Y |  |  | Extension | Qualification of the medical image contrast injection | An Extension | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:imaging_injection.id | Extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:imaging_injection.extension | Extension.extension.extension |  |  |  | 0 | 0 |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:imaging_injection.url | Extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | imaging_injection | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:imaging_injection.value[x] | Extension.extension.value[x] |  |  |  | 0 | 1 |  |  |  | base64Binary booleancanonicalcodedatedateTimedecimalidinstantintegermarkdownoidpositiveIntstringtimeunsignedInturiurluuidAddressAgeAnnotationAttachmentCodeableConceptCodingContactPointCountDistanceDurationHumanNameIdentifierMoneyPeriodQuantityRangeRatioReferenceSampledDataSignatureTimingContactDetailContributorDataRequirementExpressionParameterDefinitionRelatedArtifactTriggerDefinitionUsageContextDosageMeta | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [14 empty] | type:$this} |  |  | open | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:imaging_injection.value[x]:valueReference | Extension.extension.value[x] | valueReference |  |  | 0 | 1 |  |  |  | Reference(https://ig-osiris.cancer.fr/ig/osiris/StructureDefinition/onco-imagingstudy-injection) | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:mr_image | Extension.extension | mr_image |  |  | 0 | 1 |  |  |  | Extension | Extension | An Extension | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:mr_image.id | Extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:mr_image.extension | Extension.extension.extension |  |  |  | 9 | * |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:mr_image.extension:sequence_name | Extension.extension.extension | sequence_name |  |  | 1 | 1 | Y |  |  | Extension | Type of pulse sequence | Type of pulse sequence. Dicom Tag (0018,0024) | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:mr_image.extension:sequence_name.id | Extension.extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:mr_image.extension:sequence_name.extension | Extension.extension.extension.extension |  |  |  | 0 | 0 |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:mr_image.extension:sequence_name.url | Extension.extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | sequence_name | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:mr_image.extension:sequence_name.value[x] | Extension.extension.extension.value[x] |  |  |  | 1 | 1 | Y |  |  | string | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:mr_image.extension:magnetic_field_strength | Extension.extension.extension | magnetic_field_strength |  |  | 1 | 1 | Y |  |  | Extension | Nominal field strength | Nominal field strength of the magnet, in Tesla. Dicom Tag (0018,0087) | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:mr_image.extension:magnetic_field_strength.id | Extension.extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:mr_image.extension:magnetic_field_strength.extension | Extension.extension.extension.extension |  |  |  | 0 | 0 |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:mr_image.extension:magnetic_field_strength.url | Extension.extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | magnetic_field_strength | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:mr_image.extension:magnetic_field_strength.value[x] | Extension.extension.extension.value[x] |  |  |  | 1 | 1 | Y |  |  | decimal | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:mr_image.extension:mr_acquisition_type | Extension.extension.extension | mr_acquisition_type |  |  | 1 | 1 | Y |  |  | Extension | Description of the type of acquisition | Describe the type of acquisition, particularly the number of dimension. Dicom Tag (0018,0023) | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:mr_image.extension:mr_acquisition_type.id | Extension.extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:mr_image.extension:mr_acquisition_type.extension | Extension.extension.extension.extension |  |  |  | 0 | 0 |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:mr_image.extension:mr_acquisition_type.url | Extension.extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | mr_acquisition_type | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:mr_image.extension:mr_acquisition_type.value[x] | Extension.extension.extension.value[x] |  |  |  | 1 | 1 | Y |  |  | string | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:mr_image.extension:repetition_time | Extension.extension.extension | repetition_time |  |  | 1 | 1 | Y |  |  | Extension | Repetition time | Repetition time in ms. Dicom Tag (0018,0080) | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:mr_image.extension:repetition_time.id | Extension.extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:mr_image.extension:repetition_time.extension | Extension.extension.extension.extension |  |  |  | 0 | 0 |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:mr_image.extension:repetition_time.url | Extension.extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | repetition_time | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:mr_image.extension:repetition_time.value[x] | Extension.extension.extension.value[x] |  |  |  | 1 | 1 | Y |  |  | decimal | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:mr_image.extension:echo_time | Extension.extension.extension | echo_time |  |  | 1 | 1 | Y |  |  | Extension | Echo time | Echo time in ms. Dicom Tag (0018,0081) | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:mr_image.extension:echo_time.id | Extension.extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:mr_image.extension:echo_time.extension | Extension.extension.extension.extension |  |  |  | 0 | 0 |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:mr_image.extension:echo_time.url | Extension.extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | echo_time | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:mr_image.extension:echo_time.value[x] | Extension.extension.extension.value[x] |  |  |  | 1 | 1 | Y |  |  | decimal | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:mr_image.extension:imaging_frequency | Extension.extension.extension | imaging_frequency |  |  | 1 | 1 | Y |  |  | Extension | Precession frequency | Precession frequency in MHz of the target core. Dicom Tag (0018,0084) | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:mr_image.extension:imaging_frequency.id | Extension.extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:mr_image.extension:imaging_frequency.extension | Extension.extension.extension.extension |  |  |  | 0 | 0 |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:mr_image.extension:imaging_frequency.url | Extension.extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | imaging_frequency | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:mr_image.extension:imaging_frequency.value[x] | Extension.extension.extension.value[x] |  |  |  | 1 | 1 | Y |  |  | decimal | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:mr_image.extension:flip_angle | Extension.extension.extension | flip_angle |  |  | 1 | 1 | Y |  |  | Extension | Flip angle | Flip angle of the RF pulse in degrees impacting the T1 weighting. Dicom Tag (0018,0024) / (0018,1314) | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:mr_image.extension:flip_angle.id | Extension.extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:mr_image.extension:flip_angle.extension | Extension.extension.extension.extension |  |  |  | 0 | 0 |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:mr_image.extension:flip_angle.url | Extension.extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | flip_angle | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:mr_image.extension:flip_angle.value[x] | Extension.extension.extension.value[x] |  |  |  | 1 | 1 | Y |  |  | decimal | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:mr_image.extension:inversion_time | Extension.extension.extension | inversion_time |  |  | 1 | 1 | Y |  |  | Extension | Period between the middle of the RF inversion pulse and the middle of the excitation pulse | Period between the middle of the RF inversion pulse and the middle of the excitation pulse to detect the amount of longitudinal magnetization. Dicom Tag (0018,0082) | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:mr_image.extension:inversion_time.id | Extension.extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:mr_image.extension:inversion_time.extension | Extension.extension.extension.extension |  |  |  | 0 | 0 |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:mr_image.extension:inversion_time.url | Extension.extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | inversion_time | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:mr_image.extension:inversion_time.value[x] | Extension.extension.extension.value[x] |  |  |  | 1 | 1 | Y |  |  | decimal | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:mr_image.extension:receive_coil_name | Extension.extension.extension | receive_coil_name |  |  | 1 | 1 | Y |  |  | Extension | Receive coil name | Receive coil name. Dicom Tag (0018,1250) | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:mr_image.extension:receive_coil_name.id | Extension.extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:mr_image.extension:receive_coil_name.extension | Extension.extension.extension.extension |  |  |  | 0 | 0 |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:mr_image.extension:receive_coil_name.url | Extension.extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | receive_coil_name | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:mr_image.extension:receive_coil_name.value[x] | Extension.extension.extension.value[x] |  |  |  | 1 | 1 | Y |  |  | string | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:mr_image.url | Extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | mr_image | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:mr_image.value[x] | Extension.extension.value[x] |  |  |  | 0 | 0 |  |  |  | base64Binary booleancanonicalcodedatedateTimedecimalidinstantintegermarkdownoidpositiveIntstringtimeunsignedInturiurluuidAddressAgeAnnotationAttachmentCodeableConceptCodingContactPointCountDistanceDurationHumanNameIdentifierMoneyPeriodQuantityRangeRatioReferenceSampledDataSignatureTimingContactDetailContributorDataRequirementExpressionParameterDefinitionRelatedArtifactTriggerDefinitionUsageContextDosageMeta | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:ct_image | Extension.extension | ct_image |  |  | 0 | 1 |  |  |  | Extension | Extension | An Extension | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:ct_image.id | Extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:ct_image.extension | Extension.extension.extension |  |  |  | 5 | * |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:ct_image.extension:kvp | Extension.extension.extension | kvp |  |  | 0 | 1 | Y |  |  | Extension | Peak kilovoltage produced by the X-ray generator | Peak kilovoltage of the voltage produced by the X-ray generator. Dicom Tag (0018,0060) | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:ct_image.extension:kvp.id | Extension.extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:ct_image.extension:kvp.extension | Extension.extension.extension.extension |  |  |  | 0 | 0 |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:ct_image.extension:kvp.url | Extension.extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | kvp | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:ct_image.extension:kvp.value[x] | Extension.extension.extension.value[x] |  |  |  | 0 | 1 | Y |  |  | integer | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:ct_image.extension:xray_tube_current | Extension.extension.extension | xray_tube_current |  |  | 1 | 1 | Y |  |  | Extension | X-ray tube current in mA | X-ray tube current in mA. Dicom Tag (0018,1151) | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:ct_image.extension:xray_tube_current.id | Extension.extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:ct_image.extension:xray_tube_current.extension | Extension.extension.extension.extension |  |  |  | 0 | 0 |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:ct_image.extension:xray_tube_current.url | Extension.extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | xray_tube_current | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:ct_image.extension:xray_tube_current.value[x] | Extension.extension.extension.value[x] |  |  |  | 1 | 1 | Y |  |  | integer | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:ct_image.extension:exposure_time | Extension.extension.extension | exposure_time |  |  | 1 | 1 | Y |  |  | Extension | X-ray exposure time in ms | X-ray exposure time in ms. Dicom Tag (0018,1150) | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:ct_image.extension:exposure_time.id | Extension.extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:ct_image.extension:exposure_time.extension | Extension.extension.extension.extension |  |  |  | 0 | 0 |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:ct_image.extension:exposure_time.url | Extension.extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | exposure_time | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:ct_image.extension:exposure_time.value[x] | Extension.extension.extension.value[x] |  |  |  | 1 | 1 | Y |  |  | integer | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:ct_image.extension:spiral_pitch_factor | Extension.extension.extension | spiral_pitch_factor |  |  | 1 | 1 | Y |  |  | Extension | 'Spiral Pitch' - Ratio between the table feed per rotation and the total width of the collimation | 'Spiral Pitch' - Ratio between the table feed per rotation and the total width of the collimation. Dicom Tag (0018,9311) | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:ct_image.extension:spiral_pitch_factor.id | Extension.extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:ct_image.extension:spiral_pitch_factor.extension | Extension.extension.extension.extension |  |  |  | 0 | 0 |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:ct_image.extension:spiral_pitch_factor.url | Extension.extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | spiral_pitch_factor | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:ct_image.extension:spiral_pitch_factor.value[x] | Extension.extension.extension.value[x] |  |  |  | 1 | 1 | Y |  |  | decimal | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:ct_image.extension:filter_type | Extension.extension.extension | filter_type |  |  | 1 | 1 | Y |  |  | Extension | Filter type | Filter type. DicomTag (0018,1160) | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:ct_image.extension:filter_type.id | Extension.extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:ct_image.extension:filter_type.extension | Extension.extension.extension.extension |  |  |  | 0 | 0 |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:ct_image.extension:filter_type.url | Extension.extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | filter_type | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:ct_image.extension:filter_type.value[x] | Extension.extension.extension.value[x] |  |  |  | 1 | 1 | Y |  |  | string | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:ct_image.extension:convolution_kernel | Extension.extension.extension | convolution_kernel |  |  | 1 | 1 | Y |  |  | Extension | Convolution kernel or algorithm | A label describing the convolution kernel or algorithm used to recontruct the data. Dicom Tag (0018,1210) | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:ct_image.extension:convolution_kernel.id | Extension.extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:ct_image.extension:convolution_kernel.extension | Extension.extension.extension.extension |  |  |  | 0 | 0 |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:ct_image.extension:convolution_kernel.url | Extension.extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | convolution_kernel | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:ct_image.extension:convolution_kernel.value[x] | Extension.extension.extension.value[x] |  |  |  | 1 | 1 | Y |  |  | string | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:ct_image.url | Extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | ct_image | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:ct_image.value[x] | Extension.extension.value[x] |  |  |  | 0 | 0 |  |  |  | base64Binary booleancanonicalcodedatedateTimedecimalidinstantintegermarkdownoidpositiveIntstringtimeunsignedInturiurluuidAddressAgeAnnotationAttachmentCodeableConceptCodingContactPointCountDistanceDurationHumanNameIdentifierMoneyPeriodQuantityRangeRatioReferenceSampledDataSignatureTimingContactDetailContributorDataRequirementExpressionParameterDefinitionRelatedArtifactTriggerDefinitionUsageContextDosageMeta | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:dx_image | Extension.extension | dx_image |  |  | 0 | 1 |  |  |  | Extension | Extension | An Extension | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:dx_image.id | Extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:dx_image.extension | Extension.extension.extension |  |  |  | 4 | * |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:dx_image.extension:image_laterality | Extension.extension.extension | image_laterality |  |  | 1 | 1 | Y |  |  | Extension | Laterality of the body part | Examination of the laterality of the body part examined. Dicom Tag (0020,0062) | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:dx_image.extension:image_laterality.id | Extension.extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:dx_image.extension:image_laterality.extension | Extension.extension.extension.extension |  |  |  | 0 | 0 |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:dx_image.extension:image_laterality.url | Extension.extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | image_laterality | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:dx_image.extension:image_laterality.value[x] | Extension.extension.extension.value[x] |  |  |  | 1 | 1 | Y |  |  | string | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:dx_image.extension:patient_orientation | Extension.extension.extension | patient_orientation |  |  | 0 | 1 | Y |  |  | Extension | Patient orientation | Patient orientation. Dicom Tag (0020,0020) | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:dx_image.extension:patient_orientation.id | Extension.extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:dx_image.extension:patient_orientation.extension | Extension.extension.extension.extension |  |  |  | 0 | 0 |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:dx_image.extension:patient_orientation.url | Extension.extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | patient_orientation | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:dx_image.extension:patient_orientation.value[x] | Extension.extension.extension.value[x] |  |  |  | 0 | 1 | Y |  |  | string | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:dx_image.extension:kvp | Extension.extension.extension | kvp |  |  | 1 | 1 | Y |  |  | Extension | Peak in kilovoltage of the X-ray generator used | Peak kilovoltage of the voltage produced by the X-ray generator. Dicom Tag (0008,0060) | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:dx_image.extension:kvp.id | Extension.extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:dx_image.extension:kvp.extension | Extension.extension.extension.extension |  |  |  | 0 | 0 |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:dx_image.extension:kvp.url | Extension.extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | kvp | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:dx_image.extension:kvp.value[x] | Extension.extension.extension.value[x] |  |  |  | 1 | 1 | Y |  |  | integer | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:dx_image.extension:exposure | Extension.extension.extension | exposure |  |  | 1 | 1 | Y |  |  | Extension | The exposure expressed in mAs | The exposure expressed in mAs, for example calculated from the exposure time and the X-ray tube current. DicomTag (0018,1152) | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:dx_image.extension:exposure.id | Extension.extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:dx_image.extension:exposure.extension | Extension.extension.extension.extension |  |  |  | 0 | 0 |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:dx_image.extension:exposure.url | Extension.extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | exposure | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:dx_image.extension:exposure.value[x] | Extension.extension.extension.value[x] |  |  |  | 1 | 1 | Y |  |  | integer | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:dx_image.extension:exposure_time | Extension.extension.extension | exposure_time |  |  | 1 | 1 | Y |  |  | Extension | Duration of X-Ray exposure in ms. DicomTag (0018,1150) | An Extension | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:dx_image.extension:exposure_time.id | Extension.extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:dx_image.extension:exposure_time.extension | Extension.extension.extension.extension |  |  |  | 0 | 0 |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:dx_image.extension:exposure_time.url | Extension.extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | exposure_time | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:dx_image.extension:exposure_time.value[x] | Extension.extension.extension.value[x] |  |  |  | 1 | 1 | Y |  |  | integer | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:dx_image.url | Extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | dx_image | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:dx_image.value[x] | Extension.extension.value[x] |  |  |  | 0 | 0 |  |  |  | base64Binary booleancanonicalcodedatedateTimedecimalidinstantintegermarkdownoidpositiveIntstringtimeunsignedInturiurluuidAddressAgeAnnotationAttachmentCodeableConceptCodingContactPointCountDistanceDurationHumanNameIdentifierMoneyPeriodQuantityRangeRatioReferenceSampledDataSignatureTimingContactDetailContributorDataRequirementExpressionParameterDefinitionRelatedArtifactTriggerDefinitionUsageContextDosageMeta | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:pt_nm_image | Extension.extension | pt_nm_image |  |  | 0 | 1 |  |  |  | Extension | Extension | An Extension | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:pt_nm_image.id | Extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:pt_nm_image.extension | Extension.extension.extension |  |  |  | 3 | * |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:pt_nm_image.extension:attenuation_correction_method | Extension.extension.extension | attenuation_correction_method |  |  | 1 | 1 | Y |  |  | Extension | Attenuation correction method | Attenuation correction method. Dicom Tag (0054,1101) | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:pt_nm_image.extension:attenuation_correction_method.id | Extension.extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:pt_nm_image.extension:attenuation_correction_method.extension | Extension.extension.extension.extension |  |  |  | 0 | 0 |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:pt_nm_image.extension:attenuation_correction_method.url | Extension.extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | attenuation_correction_method | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:pt_nm_image.extension:attenuation_correction_method.value[x] | Extension.extension.extension.value[x] |  |  |  | 1 | 1 | Y |  |  | string | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:pt_nm_image.extension:reconstruction_method | Extension.extension.extension | reconstruction_method |  |  | 1 | 1 | Y |  |  | Extension | Reconstruction method | Reconstruction method e.g. 2D filtered back projection, 2D iterative, 3D PROMIS, 3D FAVOR, 3D iterative. Dicom Tag (0054,1103) | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:pt_nm_image.extension:reconstruction_method.id | Extension.extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:pt_nm_image.extension:reconstruction_method.extension | Extension.extension.extension.extension |  |  |  | 0 | 0 |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:pt_nm_image.extension:reconstruction_method.url | Extension.extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | reconstruction_method | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:pt_nm_image.extension:reconstruction_method.value[x] | Extension.extension.extension.value[x] |  |  |  | 1 | 1 | Y |  |  | string | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:pt_nm_image.extension:scatter_correction_method | Extension.extension.extension | scatter_correction_method |  |  | 1 | 1 | Y |  |  | Extension | Scattering correction method | Scattering correction method. For example, convolution-subtraction, dual energy window, model based, use of attenuation data. Dicom Tag (0054,1105) | [18 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:pt_nm_image.extension:scatter_correction_method.id | Extension.extension.extension.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Extension.extension:pt_nm_image.extension:scatter_correction_method.extension | Extension.extension.extension.extension |  |  |  | 0 | 0 |  |  |  | Extension | Extension | An Extension | [14 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()}
Extension.extension:pt_nm_image.extension:scatter_correction_method.url | Extension.extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | scatter_correction_method | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:pt_nm_image.extension:scatter_correction_method.value[x] | Extension.extension.extension.value[x] |  |  |  | 1 | 1 | Y |  |  | string | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.extension:pt_nm_image.url | Extension.extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | pt_nm_image | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.extension:pt_nm_image.value[x] | Extension.extension.value[x] |  |  |  | 0 | 0 |  |  |  | base64Binary booleancanonicalcodedatedateTimedecimalidinstantintegermarkdownoidpositiveIntstringtimeunsignedInturiurluuidAddressAgeAnnotationAttachmentCodeableConceptCodingContactPointCountDistanceDurationHumanNameIdentifierMoneyPeriodQuantityRangeRatioReferenceSampledDataSignatureTimingContactDetailContributorDataRequirementExpressionParameterDefinitionRelatedArtifactTriggerDefinitionUsageContextDosageMeta | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Extension.url | Extension.url |  |  |  | 1 | 1 |  |  |  | uri | identifies the meaning of the extension | Source of the definition for the extension code - a logical name or a URL. | The definition may point directly to a computable or human-readable definition of the extensibility codes, or it may be a logical URI as declared in some other specification. The definition SHALL be a URI for the Structure Definition defining the extension. |  |  |  | https://ig-osiris.cancer.fr/ig/osiris/StructureDefinition/imaging-settings | [13 empty] | Extension.url | 1 | 1 |  |  | N/A
Extension.value[x] | Extension.value[x] |  |  |  | 0 | 0 |  |  |  | base64Binary booleancanonicalcodedatedateTimedecimalidinstantintegermarkdownoidpositiveIntstringtimeunsignedInturiurluuidAddressAgeAnnotationAttachmentCodeableConceptCodingContactPointCountDistanceDurationHumanNameIdentifierMoneyPeriodQuantityRangeRatioReferenceSampledDataSignatureTimingContactDetailContributorDataRequirementExpressionParameterDefinitionRelatedArtifactTriggerDefinitionUsageContextDosageMeta | Value of extension | Value of extension - must be one of a constrained set of the data types (see [Extensibility](http://hl7.org/fhir/R4/extensibility.html) for a list). | [18 empty] | Extension.value[x] | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A